| Biodegradable implants in Orthopaedics Dr Ronald Menezes |  |  |
| --- | --- | --- |

Introduction

In the history of medicine biomedical materials have evolved through 3 different generations,

- first generation (bioinert materials),

- second generation (bioactive and biodegradable materials)

- third generation (materials stimulate specific responses at the molecular level).

The concept of bioabsorbable material was introduced in the 1960s by Kulkarni et al.

DEF

Biodegradale implants are degraded in a biologic environment, and their breakdown products are incorporated into normal cellular physiologic and biochemical processes.

In modern orthopaedic implant development most of the focus is on developing devices that are stronger, more acceptable to the body, cheaper and durable. In the past few decades a lot of research has been done and significant improvement has been seen in the development

of bioabsorbable osteosynthetic devices.  With an array of bioabsorbable implants available in the market, one needs to know the properties, uses and limitations of these devices.

What are the problems of metallic implants?

Metallic osteosynthetic devices have been extensively used worldwide. However there are inherent problems with the use of these metallic devices which include:

- Stress shielding phenomenon, pain, local irritation

- Risk of endogenous infection due to retained metallic implants

- Release of metallic ions from these implants has been documented, though the long term effects of these are not yet known.

Because of these reasons, there is a need for a second surgery for implant removal once the bone has healed.

Bioabsorbable Materials

Polyglycolic acid (PGA) was the first totally synthetic bioabsorbable suture developed and was introduced in 1970 as Dexon. This was followed in 1975 by Vicryl, a copolymer of 92% PGA and 8% polylactic acid (PLA). Polydioxanone (PDS) was introduced in 1981 and was the first bioabsorbable material to be made into screws. Currently, PGA, PDS, polylevolactic acid (PLLA), and racemic poly (d,l-lactic acid) (PDLLA) are the primary alpha polyesters used for bioabsorbable implants. PGA is degraded by hydrolysis primarily to pyruvic acid, and is excreted as carbon dioxide and water. PDLLA is similarly hydrolyzed via the tricarboxylic acid cycle to carbon dioxide and water and excreted by respiration. PDS also is hydrolyzed, but it primarily is excreted in the urine. Biodegradable implants cannot be contoured intraoperatively because they have a high glass transition temperature, that is, the temperature at which the compound becomes as hard as glass. The implants can be given greater tensile and flexural strength by orienting the fibers in the implant in the longitudinal axis of the implant (self-reinforcement).

These absorbable polymers are subject to creep and stress relaxation. Claes showed that self-reinforced PLA (SR-PLA) and PDLLA-PLLA screws lost 20% of their compressive force within 20 minutes. In a more natural saline environment, this loss was more rapid. Similarly, because these implants are absorbable, they lose strength relatively rapidly. SR-PGA rods are at 50% strength at 2 weeks and 13% strength at 4 weeks. The slowest degradation and loss of strength is exhibited by PLLA. The biomechanical properties of these polymers also are affected by their chemical composition, manufacturing process, physical dimensions, environmental factors, and time.

Structure, strength and properties

Polyglycolic acid (PGA) is a hard, tough, crystalline polymer with an average molecular weight of 20,000 to 145,000 and a melting point of 224-230°C.

Polylactic acid on the other hand is a polymer with initial molecular weights of 180,000 to 530,000 and a melting point of about 174°C.

In orthopaedic implants, poly-L-lactic acid (PLLA) has been used more extensively because it retains its initial strength longer than poly-D-lactic acid (PDLA).
PGA belongs to the category of fast degrading polymers. Intraosseously implanted PGA screws have been shown to completely disappear

within 6 months. PLLA on the other hand has a very long degradation time and has been shown to persist in tissues for as long as 5 years

post implantation.
For Orthopaedic usage, the main hindrance to development of bioabsorbable implants has been the question of obtaining sufficient initial strength

and retaining this strength in the bone. With the use of self reinforcing (SR) technique the material was sintered together at high temperature

and pressure, resulting in initial strengths 5 to 10 times higher than those implants manufactured with melt moulding technique. Though initial strengths of SR-PLLA screws are lower than SR-PGA, strength retention in the former is longer than the latter.

Nowadays, bioabsorbable implants show no difference in the stiffness, linear load & failure mode when compared with metallic devices. 

Advantages

The biggest advantage is that since these implants have the potential for being completely absorbed, the need for a second operation for removal

is overcome and long-term interference with tendons, nerves and the growing skeleton is avoided. Additionally, the risk of implant-associated

stress shielding, peri-implant osteoporosis and infections is reduced. An important aspect is that these implants do not interfere with clinical imaging.This allows the use of modalities like MRI in knee and shoulder injuries at any stage after surgical implantation. The other advantages include biodegradability of implants placed across mobile articular surfaces, and acceptable biocompatibility and resorption properties that reduces concern about complications.
As bioabsorbable implants get resorbed inside tissues, they offer advantages in specific fracture fixations like in the foot and ankle, where removal of the hardware is often mandatory prior to mobilization. Hence they will be beneficial in syndesmotic disruptions  and Lisfranc's dislocations.

Current uses

Biodegradable implants are available for stabilization of fractures, osteotomies, bone grafts and fusions particularly in cancellous bones. They are also used for reattachment of ligaments, tendons, meniscal tears and other soft tissue structures.
Knee: Arthroscopic surgery is the most recent orthopaedic discipline to embrace biodegradable implant technology. It is used extensively

for ACL reconstruction in the form of interference screws and transfixation screws. Osteochondral fractures can be well fixed by using

arthroscopic techniques and biodegradable pins. Meniscal tacks and biodegradable suture anchors have opened new avenues for soft tissue reconstruction in complex knee injuries; these can be used via open or arthroscopic surgical techniques. Use of bioabsorbable interference screws is a valuable alternative to metallic implants, as MRI is the only technique which allows good visualization of the transplant and evaluation of the healing process. Absence of artifacts allows use of this modality for postoperative follow-up. Lajtai et al., has shown that there was minimal surgical-site edema, minimal reaction to the material, and complete replacement by new bone formation of the previous site of these bioabsorbable  interference screws.

Shoulder: Biodegradable implants provide viable options for the repair and reconstruction of many intra-articular and extra-articular

abnormalities in the shoulder, including rotator cuff tears, shoulder instability, and biceps lesions that require labrum repair or biceps tendon tenodesis. In a study of arthroscopic Bankart reconstruction using either PGA polymer or PLA polymer implants, the overall clinical results were

comparable at two year follow up. Furthermore, the visibility of the drill holes on the 2-year radiographs was greater after using PLLA implants than after using PGACP implants.

Spine: Bioresorbable implants have significant potential for use in spine surgery. Coe and Vaccaro published the first clinical series using

bioresorbable implants as interbody spacers in lumbar interbody fusion. At follow-up beyond 2 years, they found that the implant materials significantly exceeded the biologic "life expectancy" of 12-18 months. The clinical and radiographic results of their study allowed them to recommend the use of bioresorbable devices for structural interbody support in the TLIF procedure.
Bioabsorbable anterior cervical plates have been used and studied as alternatives to metal plates when a graft containment device is required.

Ames et al., found that bioabsorbable plates provided better stability than resorbable mesh, although the results do not necessarily indicate that a

resorbable plate confers equivalent stability to a metal plate.

Paediatric Orthopaedics: The use of bioresorbable materials in paediatric conditions was perhaps the earliest recorded use in orthopaedic literature. The applications have been widely varied, and the results very successful. Bostman et al., showed that self reinforced absorbable rods were suitable for fixation of physeal fractures in children. In 1991, Hope et al., had compared the self reinforced absorbable rods with metallic fixation of elbow fractures in children. Partio et al., found SR-PLLA screws firm enough for fixation of subtalar extraarticular arthrodesis in children.  Bioabsorbable fixation technique for pediatric olecranon fractures has been described, with the advantage of avoiding reoperation to remove hardware.

Foot and Ankle: The first series of fixation of ankle fractures with absorbable rods was reported by Rokkanen et al in 1985. Subsequently,

successful results with self reinforced absorbable rods have been reported by Leixnering et al., in medial malleolar fractures, Ruf et al., in ankle fractures, and Kristensen et al., in intra articular osteochondral fractures of talus. Outside the trauma situation,  Brunetti et al., used bioresorbale implants in the fixation of osteotomies for hallux valgus. Bioabsorbable implants offer specific advantages in the foot where removal of the hardware is mandatory in some fixations like syndesmotic disruptions and Lisfranc's dislocations. Partio et al reported 95% good results in 152 patients managed operatively at a mean follow up of 2 years.

Hand: The available literature at the present time is scarce about biodegradable implant usage in the hand. However mini-plating systems are available for fixation of fractures, osteotomies and arthrodesis in the wrist and hand  . Preliminary reports have found usage of self-reinforced

polyl/dl-lactide 70/30 miniplate and 1.5-mm or 2.0-mm screws in fractures and osteotomies leading to bone union uneventfully.

Miscellaneous: There are bioabsorbable implants now available for use in humeral condyle, distal radius and ulna, radial head and other metaphyseal areas. Bioabsorbable meshes are available for acetabular reconstructions. Bioabsorbable implants are also variously used in craniomaxillofacial surgery and dental surgery. 

Degradation

Crystalline polymers have a regular internal structure and because of the orderly arrangement are slow to degrade. Amorphous polymers have a random structure and are completely and more easily degraded. Semi-crystalline polymers have crystalline and amorphous (random structure) regions. Hydrolysis begins at the amorphous area leaving the more slowly degrading crystalline debris.Some earlier biodegradable implants have had problems with degradation time and tissue reactions [Figure 1]. One commonly used material, Polyglycolide (PGA), is hydrophilic and degrades very quickly, losing virtually all strength within one month and all mass within 6-12 months. Adverse reactions can occur if the rate of degradation exceeds the limit of tissue tolerance and incidence of adverse tissue reactions to implants made of PGA have been reported from 2.0 to 46.7%. So PGA in isolation is rarely used these days in the manufacture of bioabsorbable implants. Poly L Lactic Acid (PLLA), has a much slower rate of absorption. This homopolymer of L Lactide is highly crystalline due to the ordered pattern of the polymer chains, and has been documented to take more than five years to absorb.
The newer generation of implants remain predominantly amorphous after manufacturing due to controlled production processes of copolymers.

D Lactide when copolymerized with L Lactide, increases the amorphous nature of these implants. This increases the bioabsorbability of these devices. The ideal material is perhaps one that has a "medium" degradation time of around 2 years, as by then the purpose of the implant has been served.

Disadvantages

There are quite a few problems that need to be addressed with the use of these devices. Primarily the inadequate stiffness and weakness when compared to metal implants can pose implantation difficulties like, screw breakage during insertion and can also make early mobilization precarious.
The other potential disadvantages include inflammatory responses leading to rapid loss of initial implant strength and higher refracture rates. Bostman et al., reported a 11% incidence of foreign body reaction to PGA screws in malleolar fractures. However the fracture fixation did not suffer in any case.
Areas of concern regarding faster resorbed implants are due to the fact that the body mechanisms are not able to clear away the products of degradation, when they are produced at a faster rate. This leads to a foreign body reaction, which however has only been recorded in the clinical situation. No experimental study has been able to document this, nor have the exact mechanisms and causes identified. A recent animal experimental study by Bostman et al., has evaluated the kind of tissue formed at the site of the bioresorbable implants after resorption. They recorded lower levels of trabecular bone and haemopoietic elements at the site of the resorbed implants and the screw tracks, which maybe a potential area of concern. Invasion of tissue from the periphery to the center was a constatnt finding, but this was not normal tissue. Due to time limits, this study was only able to evaluate PGA screws that degraded within the limits of the study period.
Many manufacturers are introducing coloured implants, as sometimes visualization inside the joint maybe a problem with non coloured devices.

This is definitely easier to implant (personal experience), but the literature records significantly higher rates of inflammatory reactions with the use of coloured implants.

Future

Bioabsorbable implant research is an evolving science. Resorbable plates can be covalently linked with compounds such as HRP, IL-2, and BMP-2 and represents a novel protein delivery technique. BMP-2 covalently linked to resorbable plates has been used to facilitate bone healing. Covalent linking of compounds to plates represents a novel method for delivering concentrated levels of growth factors to a specific site hence potentially extending their half-life.
An area for future development would have to focus on developing implants that degrade at the "medium term". Since the screw that persists in its track for 5 years or more does not offer the advantage of bioresorbability, newer molecules may have to be studied.
In vitro studies have shown promising results of antibiotic elution from bioabsorbable microspheres and beads.
Animal in vivo tests have shown that antibiotic impregnated polymers can successfully treat induced osteomyelitis in rabbits and dogs.
All in all, this is a concept that has perhaps come to stay. What the future holds in this sphere, is something we will have to wait and see.

| References |  |  |
| --- | --- | --- |

| 1. | Hughes TB. Bioabsorbable Implants in the Treatment of Hand Fractures: An Update. Clin Orthop. 2006;445:169-174. |
| --- | --- |
| 2. | Waris E, Konttinen YT, Ashammakhi N et al. Bioabsorbable fixation devices in trauma and bone surgery: current clinical standing.Expert Rev Med Devices. 2004;1(2):229-40. |
| 3. | Gristina AG. Biomaterial centered infection: microbial adhesion vs tissue integration. Science. 1987; 237: 1588-95 |
| 4. | Higgins NA. Condensation polymers of hydroxyacetic acid. U.S.Patent 1954; 2: 676945 |
| 5. | Frazza EJ, Schmitt EE. A New absorbable suture. J Biomed Mater Res Symposium. 1971; 1:43-58. |
| 6. | Conn J Jr, Oyasu R, Welsh M, Beal JM. Vicryl (polyglactin 910) synthetic absorbable sutures. Am J Surg. 1974;128(1):19-23 |
| 7. | Schmitz JP, Hollinger JO. Priliminary study of the osteogenic potential of a biodegradable alloplastic osteoinductive implant. Clin Orthop. 1988; 237:245-55. |
| 8. | Gammelgaard N, Jensen J. Wound complications after closure of abdominal incisions with Dexon R or VicrylR. A randomized double blind study. Acta Chir Scand. 1983;149:505-8. |
| 9. | Chegini N, Metz SA, Masterson BJ. Tissue reactivity and degradation patterns of absorbable vascular ligating clips implanted in peritoneum and rectus fascia. J Biomed Mater Res. 1990; 24:929-37. |
| 10. | Schmitt EE, Polistina RA. Polyglycolic acid prosthetic devices. U.S.Patent 1967; 3:463, 158. |
| 11. | Tunc DC, Rohowsky MV, Zadwadsky JP et al. Evaluation of body absorbable screw in avulsion type fractures. The 12 th annual meeting of the society of Biomaterials, Minneapolis - St Paul, Minnesota, USA, May 29 - June 1, Abstracts 1986: 168. |
| 12. | Raiha JE, Parchman M, Krook L et al. Fixation of trochanteric osteotomies in laboratory beagles with absorbable screws of polylactic acid. VCOT. 1990; 3:123-9. |
| 13. | Bostman O, Paivarinta U, Partio E et al. Absorbable polyglycolic screws in internal fixation of femoral osteotomies in rabbits.ActaOrthop Scand. 1991; 62: 587-91. |
| 14. | Majola A. Fixation of experimental osteotomies with absorbable polylactic acid screws. Ann Chir et Gynae. 1991; 80:274-81 |
| 15. | Tormala P, Vainoipaa S, Kilpikari J, Rokkanen P. The effects of fibre reinforcement and gold plating on the flexuraland tensile strengths of PGA/PLA copolymer materials invitro. Biomaterials. 1987; 8:42-45 |
| 16. | Suuronen R, Tormala P, Vasenius J et al. Comparison of shear strengths of osteotomies fixed with absorbable self reinforced poly L lactide and metallic screws. J Mater Sci Mater Med.1992; 3:426-31 |
| 17. | Lee MC, Jo H, Bae TS et al. Analysis of initial fixation strength of press-fit fixation technique in anterior cruciate ligament reconstruction. A comparative study with titanium and bioabsorbable interference screw using porcine lower limb. Knee SurgSports Traumatol Arthrosc. 2003;11(2):91-8. |
| 18. | Raikin SM, Ching AC. Bioabsorbable fixation in foot and ankle. Foot Ankle Clin. 2005;10(4):667-84. |
| 19. | Seitz Wh Jr, Bachner EJ, Abram LJ et al. Repair of tibiofibular syndesmosis with a flexible implant. J Orthop Trauma. 1991; 5:78-82 |
| 20. | Burkhart SS. The evolution of clinical applications of biodegradable implants in arthroscopic surgery. Biomaterials. 2000;21:2631-4 |
| 21. | Macarini L, Murrone M, Marini S et al. MRI in ACL reconstructive surgery with PDLLA bioabsorbable interference screws: evaluation of degradation and osteointegration processes of bioabsorbable screws. Radiol Med (Torino). 2004;107(1-2):47-57 |
| 22. | Lajtai G, Schmeidhuber G, Unger F et al. Bone tunnel remodeling at the site of biodegradable interference screws used for anterior cruciate ligament reconstruction: 5-year follow-up. 2001;17(6):597-602. |
| 23. | Simonian PT, Monson JT, Larson RV. Biodegradable interference screw augmentation reduces tunnel expansion after ACL reconstruction. Am J Knee Surg. 2001; 14(2):104-8 |
| 24. | McFarland EG, Park HB, Keyurapan E et al. Suture anchors and tacks for shoulder surgery, part 1: biology and biomechanics. Am J Sports Med. 2005;33(12):1918-23. |
| 25. | Magnusson L, Ejerhed L, Rostgard-Christensen L et al. .A prospective, randomized, clinical and radiographic study after arthroscopic Bankart reconstruction using 2 different types of absorbable tacks. Arthroscopy. 2006;22(2):143-51. |
| 26. | Coe JD, Vaccaro AR. Instrumented transforaminal lumbar interbody fusion with bioresorbable polymer implants and iliac crest autograft. Spine. 2005;1;30(17 ):S76-83. |
| 27. | Kandziora F, Pflugmacher R, Scholz M et al. Bioabsorbable interbody cages in a sheep cervical spine fusion model. Spine. 2004; 1;29(17):184555; |
| 28. | Ames CP, Acosta FL Jr, Chamberlain RH et al. Biomechanical analysis of a newly designed bioabsorbable anterior cervical plate. Invited submission from the joint section meeting on disorders of the spine and peripheral nerves. J Neurosurg Spine.2005;3(6):465-70 |
| 29. | Bostman O, Makela EA, Tormala P, Rokkanen P. Transphyseal fracture fixation using biodegradable pins. J Bone Joint Surg (Br). 1989; 71: 701-707. |
| 30. | Hope PG, Williamson DM, Coates CJ, Cole WG. Biodegradable pin fixation of elbow fractures in children.A randomized trial. J Bone Joint Surg (Br). 1991;73: 965-8 |
| 31. | Partio E S, Merikanto J, Heikkila J T et al. Totally absorbable screws in fixation of subtalar extraarticular arthrodesis in Children with spastic Neuromuscular disease: preliminary report of a randomized prospective study of 14 arthrodeses fixed with absorbableor metallic screws. J Paediatr Orthop. 1992; 12 : 646-50 |
| 32. | Gortzak Y, Mercado E, Atar D, Weisel Y. Pediatric olecranon fractures: open reduction and internal fixation with removable Kirschner wires and absorbable sutures. J Pediatr Orthop. 2006 Jan-Feb;26(1):3942. |
| 33. | Rokkanen P, Bostman O, Vainoinpaa S et al. Biodegradable implants in fracture fixation: early results of treatment of fractures of the ankle. Lancet. I.1985: 1422-24 |
| 34. | Leixnering M, Moser KL, Poigenfurst J. Dievordendung von Biofix c zur Stabilisierung von Innenknochelfrakturen. Tecknik undErgebnisse von 10 Operationen. Akt Traumatol. 1989; 19: 113-5 |
| 35. | Ruf W, Schult W, Buhl K. Stabilisierung von Malleolasfrakturen undFlakeverletzungen mitresorbierbaren polyglykolid-Stiften (BiofixR)Unfallchirurgie. 1990;16:202-9 |
| 36. | Kristensen G, Lind T, Lavard P, Olsen PA. Fracture stage 4 of the lateral talar dome treated arthdoscopically using biofix for fixation. J Arthosc Rel Surg. 1990; 6:242-4 |
| 37. | Brunetti VA, Trpal MJ, Jules KT. Fixation of Austin osteotomy with biosorbable pins. J Foot Surg. 1991; 30: 56-65. |
| 38. | Partio EK, Bostman O, Hirvensalo E et al. Self reinforced absorbable screws in the fixation of ankle fractures: a prospective clinical study of 152 patients. J Orthop Trauma. 1992; 6(2): 209-15 |
| 39. | Waris E, Ninkovic M, Harpf C et al. Self-reinforced bioabsorbable miniplates for skeletal fixation in complex hand injury: three case reports. J Hand Surg (Am). 2004;29(3):452-7. |
| 40. | Mayfield L, Nobreus N, Attstrom R, Linde A. Guided bone regeneration in dental implant treatment using a bioabsorbable membrane. Clin Oral Implants Res. 1997;8(1):10-7. |
| 41. | Andriano KP, Pohjonen T, Tormala P. Processing and characterization of absorbable polylactide polymers for use in surgical implants. J Appl Biomater. 1994;5(2):133-40. |
| 42. | Bostman OM, Pihlajamaki HK. Adverse tissue reactions to bioabsorbable fixation devices. Clin Orthop. 2000;(371):216-27. |
| 43. | Bostman O, Partio E, Hirvensalo E, Rokkanen P. Foreign-body reactions to polyglycolide screws. Acta Orthop Scand. 1992; 63 (2): 173-6 |
| 44. | Shibuya TY, Wadhwa A, Nguyen KH et al. Linking of bone morphogenetic protein-2 to resorbable fracture plates for enhancing bone healing. Laryngoscope. 2005;115:2232-7. |
| 45. | Garvin K, Feschuk C. Polylactide-polyglycolide antibiotic implants. Clin Orthop. 2005;(437):105-10. |
| 46. | Bostman OM, Laitinen OM, Tynninen O, Salminen ST, Pihlajamaki HK. Tissue restoration after resorption of polyglycolide and poly-llaevolactic acid screws. J Bone Joint Surg (Br). 2005; 87:1575-1580. |

47.    Biomaterials in orthopaedics,M. Navarro*, A. Michiardi, O. Castan˜o and J. A. Planell

J. R. Soc. Interface (2008) 5, 1137–1158, doi:10.1098/rsif.2008.0151,Published online 30 July 2008